## Scenario metrics
scenario | phase4_scenario | phase3_scenario | month | structural_test_mode | digestion_enabled | digester_feed_kg_hr | conditioned_digester_feed_kg_hr | digester_feed_m3_hr | digester_feed_cod_kg_hr | digester_feed_soluble_cod_kg_hr | digester_feed_particulate_cod_kg_hr | digester_feed_vs_kg_hr | digester_feed_total_n_kg_hr | digester_feed_total_p_kg_hr | digester_feed_total_s_kg_hr | digester_feed_c_to_n_ratio | digester_feed_cod_to_n_ratio | digester_feed_cod_to_p_ratio | conditioning_pure_base_kg_hr | conditioning_base_solution_kg_hr | conditioning_dilution_water_kg_hr | conditioning_power_kw | digester_inlet_pH_metadata | digester_pH_metadata | digester_temperature_c | digester_hrt_days | digester_srt_days | working_volume_m3 | total_digester_volume_m3 | number_of_digesters | digester_volume_per_tank_m3 | digester_diameter_m | digester_liquid_height_m | actual_cod_olr_kg_m3_day | actual_vs_olr_kg_m3_day | sizing_disagreement_fraction | converted_substrate_cod_kg_hr | methane_cod_kg_hr | methane_produced_kg_hr | methane_exported_kg_hr | dissolved_methane_kg_hr | uncaptured_methane_kg_hr | biomass_produced_kg_hr | ammonium_generated_kg_hr | orthophosphate_generated_kg_hr | hydrogen_sulfide_generated_kg_hr | pH_inhibition_factor | ammonia_inhibition_factor | digestate_flow_kg_hr | digestate_cod_kg_hr | digestate_vs_kg_hr | digestate_total_n_kg_hr | digestate_total_p_kg_hr | digestate_total_s_kg_hr | cod_removal_fraction | vs_removal_fraction | methane_yield_nm3_per_kg_feed_cod | methane_yield_nm3_per_kg_converted_cod | methane_yield_nm3_per_kg_feed_vs | methane_yield_nm3_per_t_raw_liquid | methane_yield_nm3_per_t_wet_grass | digester_preheat_kw | digester_feed_cooling_kw | digester_vessel_heat_loss_kw | total_phase5_heat_kw | total_phase5_cooling_kw | digester_mixing_power_kw | total_phase5_electricity_kw | wet_raw_biogas_nm3_hr | dry_raw_biogas_nm3_hr | raw_biogas_methane_nm3_hr | raw_biogas_co2_nm3_hr | raw_biogas_methane_dry_mol_fraction | raw_biogas_co2_dry_mol_fraction | raw_biogas_h2s_ppmv_dry | raw_biogas_ammonia_ppmv_dry | raw_biogas_water_mol_fraction_wet | mass_balance_error_kg_hr | cod_balance_error_kg_hr | carbon_balance_error_kg_hr | nitrogen_balance_error_kg_hr | phosphorus_balance_error_kg_hr | sulphur_balance_error_kg_hr
AD0 | PR3 | F2 | July | True | False | 245.0806 | 245.0806 | 0.24508 | 5.9558 | 4.8208 | 1.135 | 3.9238 | 0.55436 | 0.077831 | 0.011667 | 3.6543 | 10.7436 | 76.522 | 0 | 0 | 0 | 0.0010212 | 7 | 7.2 | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 245.0806 | 5.9558 | 3.9238 | 0.55436 | 0.077831 | 0.011667 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0010212 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1369e-13 | 0 | 0 | 0 | -5.5511e-17 | 0
AD1 | PR3 | F2 | July | True | True | 245.0806 | 245.1051 | 0.24508 | 5.9558 | 4.8208 | 1.135 | 3.9238 | 0.55436 | 0.077831 | 0.011667 | 3.6543 | 10.7436 | 76.522 | 0.012254 | 0.024508 | 0 | 0.0010212 | 7 | 7.2 | 35 | 25 | 25 | 147.0631 | 203.5475 | 1 | 203.5475 | 6.3757 | 6.3757 | 0.97196 | 0.64035 | 0.61122 | 2.7068 | 2.1167 | 0.53061 | 0.5044 | 0.015918 | 0.010294 | 0.1525 | 0.35182 | 0 | 0.0041694 | 1 | 1 | 243.6194 | 3.9026 | 2.4704 | 0.55423 | 0.077831 | 0.010908 | 0.34474 | 0.37042 | 0.11833 | 0.26035 | 0.1796 | 2.1595 | 1.2484 | 0 | 6.9852 | 1.4844 | 1.4844 | 6.9852 | 0.61276 | 0.61378 | 1.2188 | 1.17 | 0.70472 | 0.46461 | 0.60231 | 0.39709 | 444.2531 | 163.5567 | 0.04 | -1.1369e-13 | 0 | 0 | 0 | 0 | 0
AD2 | PR0 | F2 | July | True | True | 246.1524 | 246.177 | 0.24615 | 12.0653 | 10.3716 | 1.6937 | 7.8954 | 1.1396 | 0.081471 | 0.047295 | 3.6771 | 10.5877 | 148.0929 | 0.012308 | 0.024615 | 0 | 0.0010256 | 6.5 | 7.2 | 35 | 25 | 25 | 147.7062 | 204.4377 | 1 | 204.4377 | 6.3849 | 6.3849 | 1.9604 | 1.2829 | 0.21583 | 5.3683 | 4.198 | 1.0523 | 1.0003 | 0.03157 | 0.020415 | 0.30244 | 0.66977 | 0 | 0.019622 | 1 | 1 | 243.1303 | 7.9932 | 5.1395 | 1.1394 | 0.081471 | 0.043724 | 0.3375 | 0.34905 | 0.11584 | 0.26035 | 0.17702 | 4.2828 | 2.4758 | 2.9308 | 0 | 1.4886 | 4.4194 | 0 | 0.61544 | 0.61647 | 2.4687 | 2.37 | 1.3976 | 0.96954 | 0.58973 | 0.4091 | 1032.2193 | 138.5551 | 0.04 | 0 | 0 | 0 | -4.4409e-16 | 0 | 0
AD3 | PR3 | F2 | July | True | True | 245.0806 | 245.1051 | 0.24508 | 5.9558 | 4.8208 | 1.135 | 3.9238 | 0.55436 | 0.077831 | 0.011667 | 3.6543 | 10.7436 | 76.522 | 0.012254 | 0.024508 | 0 | 0.0010212 | 7 | 7.2 | 55 | 20 | 20 | 117.6505 | 162.838 | 1 | 162.838 | 5.9186 | 5.9186 | 1.2149 | 0.80044 | 0.51402 | 2.7068 | 2.1167 | 0.53061 | 0.5044 | 0.015918 | 0.010294 | 0.1525 | 0.35182 | 0 | 0.0041694 | 1 | 1 | 243.6191 | 3.9026 | 2.4704 | 0.55395 | 0.077831 | 0.010908 | 0.34474 | 0.37042 | 0.11833 | 0.26035 | 0.1796 | 2.1595 | 1.2484 | 0 | 1.3715 | 2.3131 | 2.3131 | 1.3715 | 0.49021 | 0.49123 | 1.2193 | 1.1705 | 0.70472 | 0.46461 | 0.60208 | 0.39693 | 444.0843 | 543.3576 | 0.04 | -1.1369e-13 | 0 | 0 | 0 | 0 | 0

## Metrics by scenario
metric | AD0 | AD1 | AD2 | AD3
phase4_scenario | PR3 | PR3 | PR0 | PR3
phase3_scenario | F2 | F2 | F2 | F2
month | July | July | July | July
structural_test_mode | True | True | True | True
digestion_enabled | False | True | True | True
digester_feed_kg_hr | 245.0806 | 245.0806 | 246.1524 | 245.0806
conditioned_digester_feed_kg_hr | 245.0806 | 245.1051 | 246.177 | 245.1051
digester_feed_m3_hr | 0.24508 | 0.24508 | 0.24615 | 0.24508
digester_feed_cod_kg_hr | 5.9558 | 5.9558 | 12.0653 | 5.9558
digester_feed_soluble_cod_kg_hr | 4.8208 | 4.8208 | 10.3716 | 4.8208
digester_feed_particulate_cod_kg_hr | 1.135 | 1.135 | 1.6937 | 1.135
digester_feed_vs_kg_hr | 3.9238 | 3.9238 | 7.8954 | 3.9238
digester_feed_total_n_kg_hr | 0.55436 | 0.55436 | 1.1396 | 0.55436
digester_feed_total_p_kg_hr | 0.077831 | 0.077831 | 0.081471 | 0.077831
digester_feed_total_s_kg_hr | 0.011667 | 0.011667 | 0.047295 | 0.011667
digester_feed_c_to_n_ratio | 3.6543 | 3.6543 | 3.6771 | 3.6543
digester_feed_cod_to_n_ratio | 10.7436 | 10.7436 | 10.5877 | 10.7436
digester_feed_cod_to_p_ratio | 76.522 | 76.522 | 148.0929 | 76.522
conditioning_pure_base_kg_hr | 0 | 0.012254 | 0.012308 | 0.012254
conditioning_base_solution_kg_hr | 0 | 0.024508 | 0.024615 | 0.024508
conditioning_dilution_water_kg_hr | 0 | 0 | 0 | 0
conditioning_power_kw | 0.0010212 | 0.0010212 | 0.0010256 | 0.0010212
digester_inlet_pH_metadata | 7 | 7 | 6.5 | 7
digester_pH_metadata | 7.2 | 7.2 | 7.2 | 7.2
digester_temperature_c | 35 | 35 | 35 | 55
digester_hrt_days | 0 | 25 | 25 | 20
digester_srt_days | 0 | 25 | 25 | 20
working_volume_m3 | 0 | 147.0631 | 147.7062 | 117.6505
total_digester_volume_m3 | 0 | 203.5475 | 204.4377 | 162.838
number_of_digesters | 0 | 1 | 1 | 1
digester_volume_per_tank_m3 | 0 | 203.5475 | 204.4377 | 162.838
digester_diameter_m | 0 | 6.3757 | 6.3849 | 5.9186
digester_liquid_height_m | 0 | 6.3757 | 6.3849 | 5.9186
actual_cod_olr_kg_m3_day | 0 | 0.97196 | 1.9604 | 1.2149
actual_vs_olr_kg_m3_day | 0 | 0.64035 | 1.2829 | 0.80044
sizing_disagreement_fraction | 0 | 0.61122 | 0.21583 | 0.51402
converted_substrate_cod_kg_hr | 0 | 2.7068 | 5.3683 | 2.7068
methane_cod_kg_hr | 0 | 2.1167 | 4.198 | 2.1167
methane_produced_kg_hr | 0 | 0.53061 | 1.0523 | 0.53061
methane_exported_kg_hr | 0 | 0.5044 | 1.0003 | 0.5044
dissolved_methane_kg_hr | 0 | 0.015918 | 0.03157 | 0.015918
uncaptured_methane_kg_hr | 0 | 0.010294 | 0.020415 | 0.010294
biomass_produced_kg_hr | 0 | 0.1525 | 0.30244 | 0.1525
ammonium_generated_kg_hr | 0 | 0.35182 | 0.66977 | 0.35182
orthophosphate_generated_kg_hr | 0 | 0 | 0 | 0
hydrogen_sulfide_generated_kg_hr | 0 | 0.0041694 | 0.019622 | 0.0041694
pH_inhibition_factor | 1 | 1 | 1 | 1
ammonia_inhibition_factor | 1 | 1 | 1 | 1
digestate_flow_kg_hr | 245.0806 | 243.6194 | 243.1303 | 243.6191
digestate_cod_kg_hr | 5.9558 | 3.9026 | 7.9932 | 3.9026
digestate_vs_kg_hr | 3.9238 | 2.4704 | 5.1395 | 2.4704
digestate_total_n_kg_hr | 0.55436 | 0.55423 | 1.1394 | 0.55395
digestate_total_p_kg_hr | 0.077831 | 0.077831 | 0.081471 | 0.077831
digestate_total_s_kg_hr | 0.011667 | 0.010908 | 0.043724 | 0.010908
cod_removal_fraction | 0 | 0.34474 | 0.3375 | 0.34474
vs_removal_fraction | 0 | 0.37042 | 0.34905 | 0.37042
methane_yield_nm3_per_kg_feed_cod | 0 | 0.11833 | 0.11584 | 0.11833
methane_yield_nm3_per_kg_converted_cod |  | 0.26035 | 0.26035 | 0.26035
methane_yield_nm3_per_kg_feed_vs | 0 | 0.1796 | 0.17702 | 0.1796
methane_yield_nm3_per_t_raw_liquid | 0 | 2.1595 | 4.2828 | 2.1595
methane_yield_nm3_per_t_wet_grass | 0 | 1.2484 | 2.4758 | 1.2484
digester_preheat_kw | 0 | 0 | 2.9308 | 0
digester_feed_cooling_kw | 0 | 6.9852 | 0 | 1.3715
digester_vessel_heat_loss_kw | 0 | 1.4844 | 1.4886 | 2.3131
total_phase5_heat_kw | 0 | 1.4844 | 4.4194 | 2.3131
total_phase5_cooling_kw | 0 | 6.9852 | 0 | 1.3715
digester_mixing_power_kw | 0 | 0.61276 | 0.61544 | 0.49021
total_phase5_electricity_kw | 0.0010212 | 0.61378 | 0.61647 | 0.49123
wet_raw_biogas_nm3_hr | 0 | 1.2188 | 2.4687 | 1.2193
dry_raw_biogas_nm3_hr | 0 | 1.17 | 2.37 | 1.1705
raw_biogas_methane_nm3_hr | 0 | 0.70472 | 1.3976 | 0.70472
raw_biogas_co2_nm3_hr | 0 | 0.46461 | 0.96954 | 0.46461
raw_biogas_methane_dry_mol_fraction | 0 | 0.60231 | 0.58973 | 0.60208
raw_biogas_co2_dry_mol_fraction | 0 | 0.39709 | 0.4091 | 0.39693
raw_biogas_h2s_ppmv_dry | 0 | 444.2531 | 1032.2193 | 444.0843
raw_biogas_ammonia_ppmv_dry | 0 | 163.5567 | 138.5551 | 543.3576
raw_biogas_water_mol_fraction_wet | 0 | 0.04 | 0.04 | 0.04
mass_balance_error_kg_hr | -1.1369e-13 | -1.1369e-13 | 0 | -1.1369e-13
cod_balance_error_kg_hr | 0 | 0 | 0 | 0
carbon_balance_error_kg_hr | 0 | 0 | 0 | 0
nitrogen_balance_error_kg_hr | 0 | 0 | -4.4409e-16 | 0
phosphorus_balance_error_kg_hr | -5.5511e-17 | 0 | 0 | 0
sulphur_balance_error_kg_hr | 0 | 0 | 0 | 0

## Monthly selected
scenario | phase4_scenario | phase3_scenario | month | operating_hours | digester_feed_kg | raw_biogas_nm3 | methane_nm3 | digestate_kg | pure_base_kg | phase5_heat_kwh | phase5_cooling_kwh | phase5_electricity_kwh | working_volume_m3 | total_digester_volume_m3 | methane_dry_mol_fraction
AD1 | PR3 | F2 | January | 744 | 71633.5662 | 356.2362 | 205.9809 | 71206.4821 | 3.5817 | 605.1681 | 2041.6746 | 179.4003 | 57.7748 | 79.9651 | 0.60231
AD1 | PR3 | F2 | February | 672 | 65121.4238 | 323.8511 | 187.2553 | 64733.1655 | 3.2561 | 548.8738 | 1856.0678 | 163.0912 | 58.1499 | 80.4843 | 0.60231
AD1 | PR3 | F2 | March | 744 | 82487.1368 | 410.2113 | 237.1901 | 81995.343 | 4.1244 | 662.4383 | 2351.0193 | 206.5822 | 66.5285 | 92.081 | 0.60231
AD1 | PR3 | F2 | April | 720 | 108535.7063 | 539.7518 | 312.0922 | 107888.6092 | 5.4268 | 780.9991 | 3093.4464 | 271.8186 | 90.4555 | 125.1979 | 0.60231
AD1 | PR3 | F2 | May | 744 | 138925.7041 | 690.8822 | 399.4781 | 138097.4198 | 6.9463 | 926.4263 | 3959.6114 | 347.9278 | 112.0481 | 155.0838 | 0.60231
AD1 | PR3 | F2 | June | 720 | 164974.2736 | 820.4227 | 474.3802 | 163990.686 | 8.2487 | 1023.2346 | 4702.0385 | 413.1643 | 137.4923 | 190.3008 | 0.60231
AD1 | PR3 | F2 | July | 744 | 182339.9866 | 906.7829 | 524.3149 | 181252.8635 | 9.117 | 1104.3785 | 5196.9899 | 456.6553 | 147.0631 | 203.5475 | 0.60231
AD1 | PR3 | F2 | August | 744 | 173657.1301 | 863.6028 | 499.3476 | 172621.7747 | 8.6829 | 1070.0693 | 4949.5142 | 434.9098 | 140.0601 | 193.8548 | 0.60231
AD1 | PR3 | F2 | September | 720 | 143267.1323 | 712.4723 | 411.9617 | 142412.9641 | 7.1634 | 934.0879 | 4083.3492 | 358.8006 | 119.4012 | 165.2612 | 0.60231
AD1 | PR3 | F2 | October | 744 | 112877.1346 | 561.3418 | 324.5759 | 112204.1536 | 5.6439 | 810.3805 | 3217.1843 | 282.6914 | 91.0391 | 126.0056 | 0.60231
AD1 | PR3 | F2 | November | 720 | 86828.565 | 431.8014 | 249.6738 | 86310.8874 | 4.3414 | 676.6152 | 2474.7571 | 217.4549 | 72.3644 | 100.1583 | 0.60231
AD1 | PR3 | F2 | December | 744 | 73804.2803 | 367.0312 | 212.2227 | 73364.2543 | 3.6902 | 616.8505 | 2103.5436 | 184.8367 | 59.5255 | 82.3883 | 0.60231

## Annual totals
digester_feed_kg | raw_biogas_nm3 | methane_nm3 | digestate_kg | pure_base_kg | phase5_heat_kwh | phase5_cooling_kwh | phase5_electricity_kwh
1404452.0397 | 6984.3877 | 4038.4734 | 1396078.603 | 70.2226 | 9759.522 | 40029.1964 | 3517.3331

## Peak design
month | working_volume_m3 | total_digester_volume_m3
July | 147.0631 | 203.5475

## Scenario readiness
scenario | name | active | feed_mode | digester_type | description | missing_data_requirements
AD0 | No digestion | TRUE | post_protein_recovery | bypass | Conditioned liquid bypass with no substrate conversion or biogas production.
AD1 | Post-protein-recovery mesophilic digestion | TRUE | post_protein_recovery | cstr | Conditioned protein-depleted liquid to a steady-state mesophilic CSTR.
AD2 | Direct mesophilic digestion | TRUE | direct_protein_rich | cstr | Clarified protein-rich liquid enters digestion through the PR0 bypass.
AD3 | Thermophilic digestion | TRUE | post_protein_recovery | cstr | Post-protein-recovery liquid to a structural thermophilic CSTR case.
AD4 | Two-stage digestion | FALSE | post_protein_recovery | two_stage | Reserved hydrolysis/acidogenesis and methanogenesis architecture. | stage-specific hydrolysis and VFA-production kinetics; interstage pH and residence-time design; stage-specific biomass yields and retention
AD5 | High-rate digestion | FALSE | post_protein_recovery | high_rate | Reserved UASB/EGSB/AnMBR-style interface. | biomass-retention and purge data; granule or membrane solids-separation performance; hydraulic loading, fouling, and cleaning data